## Area Program
Architectural Area Statement
All areas are in square feet and are built-up areas (including walls)
Proposed 190-Bed Multi-Specialty Hospital
Distribution of In-Patient Beds
Beds |  |  | Units | Beds / Unit | No. of Beds | Room Bays
IP Rooms
Deluxe Rooms |  |  | 4 | 1 | 4 | 8
Private Rooms |  |  | 34 | 1 | 34 | 34
Semi-Private Rooms |  |  | 30 | 2 | 60 | 30
5-Bed Wards |  |  | 4 | 5 | 20 | 8
LDR's |  |  | 0 | 1 | 0
SICU |  |  | 1 | 16 | 16
MICU |  |  | 1 | 16 | 16
ICCU |  |  | 1 | 16 | 16
NICU |  |  | 0 | 6 | 0
High Dependency Unit (HDU) |  |  | 1 | 16 | 16
EMS (Casualty + EMS) |  |  | 1 | 8 | 8
Total In-Patient Beds |  |  |  |  | 190 | 80
Revenue Earning Beds
Area/Bed | Only Revenue earning beds (where you pay for the bed |  |  |  | 1144.3629 | sq. ft.
apart from the procedure and tests) Thumb rules are applicable to this method of calculation.
Area/Bed | Counting all beds | Beds |  |  | 929.1836 | sq.ft.
Pre-Op/Post-Op |  | 16
Chemotherapy |  | 8
Dialysis |  | 8
Day Care |  | 12
Total |  | 44
Kitchen & Dining
[7 empty] | Scroll right for Stack Plan | [14 empty] | Resident Doctors |  |  |  | All floor heights in multiples of 150 staircase risers
Total Built-Up Area of Hospital | [9 empty] | Stack Plan |  | Plinth | Waiting | Entrance, OPD & Clinical floors |  |  |  | ICU | ICU | OT Floor |  | Nurse Floor | Inpatient Floors |  |  |  | Above Ground
[11 empty] | Floor Heights | 0.75 |  | 3.45 | 3.45 | 3.45 | 3.45 | 3.45 | 3.45 | 4.5 | 3.15 | 3.15 | 3.15 | 3.15 | 3.15 | 3.15 | 44.85 | Meters
[10 empty] | Floor |  | Basement | Lower Ground | Ground | 1st | 2nd | 3rd | 4th | 5th | 6th | Service | 7th | 8th | 9th | 10th | 11th | Total | Solar
Description |  |  |  |  | Area in Sq. Ft. |  | Basement | Superstructure |  | Description
[7 empty] | Partial FSI | FSI area
Public Areas |  |  |  |  | 13164 | 6.781% |  |  |  | Public Areas |  |  |  | 8000 | 1st: 6000 | [6 empty] | 14000
Casualty Department |  |  |  |  | 3620.5 | 1.865% |  |  |  | Casualty Department |  |  |  | 3620.5 | [12 empty] | 3620.5
Out-Patient Department & Attendant Waiting |  |  |  |  | 17394 | 8.96% |  |  |  | Out-Patient Department & Attendant Waiting |  |  | 4500 |  | 1st: 7000; 2nd: 13000 | [6 empty] | 20000
Physotherapy & Rehabilitation |  |  |  |  | 1787.5 | 0.9208% |  |  |  | Physotherapy & Rehabilitation |  |  |  |  | 3rd: 1787.5 | [6 empty] | 1787.5
Radiology / Imaging & Diagnostics |  |  |  |  | 5075 | 2.614% |  |  |  | Radiology / Imaging & Diagnostics |  |  |  |  | 3rd: 5075 | [6 empty] | 5075
Dialysis Unit |  |  |  |  | 1924 | 0.9911% |  |  |  | Dialysis Unit |  |  |  |  | 3rd: 1924 | [6 empty] | 1924
Operation Theater Complex & Day Care Unit |  |  |  |  | 11427 | 5.886% |  |  |  | Operation Theater Complex & Day Care Unit |  |  |  |  | 6th: 11427 | AHU's | [5 empty] | 11427
Hybrid Cath Lab |  |  |  |  | 2769 | 1.426% |  |  |  | Hybrid Cath Lab |  |  |  |  | 5th: 2769 | [6 empty] | 2769
Intraoperative MRI |  |  |  |  | 1600 |  |  |  |  | Intraoperative MRI |  |  |  |  | 6th: 1600 | [6 empty] | 1600
Intensive Care Unit |  |  |  |  | 23010 | 11.85% |  |  |  | Intensive Care Unit |  |  |  |  | 4th: 13000; 5th: 10010 | [6 empty] | 23010
Nurse Floor/Resident Doctors |  |  |  |  | 15500 | 7.984% |  |  |  | Nurse Floor/Resident Doctors | [11 empty] | 8128 |  |  |  |  | 8128
In-Patient Wing |  |  |  |  | 62000 | 31.94% | One third inpatient beds-correct area ratio |  |  | In-Patient Wing | [12 empty] | 13000 | 13000 | 13000 | 13000 | 52000
Central Sterilization & Processing Department |  |  |  |  | 1752 | 0.9025% |  |  |  | Central Sterilization & Processing Department | [10 empty] | 1752 | [5 empty] | 1752
Clinical Laboratory & Blood Bank |  |  |  |  | 4728 | 2.435% |  |  |  | Clinical Laboratory & Blood Bank |  |  |  |  | 3rd: 4728 | [6 empty] | 4728
Kitchen & Dining |  |  |  |  | 4872 | 2.51% |  |  |  | Kitchen & Dining | [11 empty] | 4872 |  |  |  |  | 4872
Administration |  |  |  |  | 7176 | 3.696% |  |  |  | Administration | [16 empty] | Solar Floor | 7176
Materials Management, Housekeeping, Laundry & Staff Lockers |  |  |  |  | 7550 | 3.889% | 7550 |  |  | Materials Management, Housekeeping, Laundry & Staff Lockers |  | 7550 |  | 1500 | [12 empty] | Basement | free of FSI
Electrical, HVAC, Maintenance & Bio-Medical Engineering |  |  |  |  | 8784 | 4.525% | 8784 |  |  | Electrical, HVAC, Maintenance & Bio-Medical Engineering |  | 8784 | [14 empty] | Basement | approx. 50 per cent area utilised
Sub-Total |  |  |  |  | 194133 | 99.18% | 16334 |  |  | Sub-Total |  | 16334 | 4500 | 13120.5 | 13000 | 13000 | 13514.5 | 13000 | 12779 | 13027 | 1752 | 13000 | 13000 | 13000 | 13000 | 13000 | 156693
Add : Vertical Circulation, Fire Escapes, AHU's @ 12% |  |  |  |  | 23295.96 |  | 1960.08 | G+11+Service |  | Add : Vertical Circulation, Fire Escapes, AHU's @ 12% |  | 1960.08 | 540 | 1574.46 | 1560 | 1560 | 1621.74 | 1560 | 1533.48 | 1563.24 | 210.24 | 1560 | 1560 | 1560 | 1560 | 1560 | 18803.16
Total |  |  |  |  | 217428.96 |  | 18294.08 | 188034.16 | minus atriums | Total |  | 18294.08 | 5040 | 14694.96 | 14560 | 14560 | 15136.24 | 14560 | 14312.48 | 14590.24 | 1962.24 | 14560 | 14560 | 14560 | 14560 | 14560 | 175496.16
|  |  | Minus Atriums |  |  | We might get mechanical areas in basement free of FSI | [5 empty] | Two Basements | [8 empty] | 12538 | [5 empty] | 12538
[14 empty] | Extra Area Unused | [6 empty] | 50 per cent usable
[23 empty] | Total Built-Up Area |  |  |  | 188034.16 | minus atriums
Superstructure
Public Areas
Description |  |  | Quantity | Area/Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Wheelchair / Stretcher Alcove |  |  | 0 | 50 | 0
Main Entrance Lobby |  |  | 1 | 4500 | 4500
Atrium |  |  | 1 | 4500 | 4500
Public Toilets |  |  | 2 | 360 | 720
Staff Toilets |  |  | 0 | 40 | 0
Reception & Front Office Staff Work Area |  |  | 1 | 250 | 250
Admitting / Discharge Cubicles |  |  | 3 | 50 | 150
Bank Extension Counter |  |  | 0 | 350 | 0
Billing Section |  |  | 1 | 150 | 150
PRO's Office/Social Workers Office |  |  | 1 | 120 | 120
Retail Pharmacy |  |  | 1 | 300 | 300
Gift Shop |  |  | 0 | 500 | 0
Telephone Booths |  |  | 2 | 20 | 40
Snack Bar |  |  | 0 | 500 | 0
EPABX/Server Room |  |  | 1 | 200 | 200
Prayer Room |  |  | 0 | 350 | 0
Housekeeping Closet |  |  | 2 | 20 | 40
Sub Total |  |  |  |  | 10970
(Add : Circulation @ 20%) |  |  |  |  | 2194
Total |  |  |  |  | 13164
Casualty Department
Description |  |  | Quantity | Area/Room | Total Area
|  |  |  | (sq. ft.) | (sq. ft.)
Triage |  |  | 2 | 150 | 300
Wheelchair / Stretcher Alcove |  |  | 2 | 50 | 100
Public Waiting |  |  | 1 | 300 | 300
Minor OT |  |  | 0 | 250 | 0
Change Cubicle |  |  | 0 | 30 | 0
Emergency Procedure Room cum Plaster Room |  |  | 2 | 200 | 400
Observation Beds |  |  | 6 | 100 | 600
Scrub Stations |  |  | 1 | 25 | 25
Public Toilets |  |  | 2 | 120 | 240
Staff Toilets |  |  | 2 | 40 | 80
Support
Central Nurse Station |  |  | 1 | 120 | 120
Clean Utility |  |  | 1 | 100 | 100
Dirty Utility |  |  | 1 | 100 | 100
Mobile X-ray Alcove |  |  | 1 | 50 | 50
Staff Change |  |  | 2 | 75 | 150
Doctors Duty Room with Toilet |  |  | 1 | 180 | 180
Housekeeping Closet |  |  | 2 | 20 | 40
Sub-Total |  |  |  |  | 2785
Add : Circulation @ 30% |  |  |  |  | 835.5
Total |  |  |  |  | 3620.5
Out-Patient Department
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Consultation Rooms/ Dedicated Doctor's Offices |  |  | 15 | 120 | 1800
Dental Clinic |  |  | 1 | 200 | 200
Ophthalmic Clinic |  |  | 1 | 120 | 120
Laser Room |  |  | 1 | 120 | 120
A & B Scan, Perimetry |  |  | 1 | 200 | 200
ENT OPD |  |  | 1 | 150 | 150
Audiometry |  |  | 1 | 150 | 150
Urodynamics |  |  | 1 | 120 | 120
Cardiac Diagnostics |  |  | 1 | 500 | 500
Executive Health Check-Up Lounge with Toilet |  |  | 1 | 600 | 600
Life Style Related Diseases-Exam & Consult |  |  | 0 | 1200 | 0
Chemotherapy |  |  | 8 | 100 | 800
Chemotherapy Nurse Station |  |  | 1 | 100 | 100
Patient Toilet |  |  | 1 | 40 | 40
Minor Treatment Room |  |  | 2 | 200 | 400
Sample Collection / Injection with Toilet |  |  | 2 | 150 | 300
Sub-Waiting Areas |  |  | 6 | 120 | 720
Central Waiting Space |  |  | 1 | 900 | 900
Attendant Waiting |  |  | 1 | 5000 | 5000
Support
Nurse Station & Registration |  |  | 1 | 200 | 200
Clean Utility |  |  | 1 | 80 | 80
Dirty Utility |  |  | 1 | 80 | 80
Public Toilets |  |  | 2 | 240 | 480
Staff Toilets |  |  | 2 | 40 | 80
Wheelchair Alcove |  |  | 4 | 50 | 200
Housekeeping Closet |  |  | 2 | 20 | 40
Sub-Total |  |  |  |  | 13380
Add : Circulation @ 30% |  |  |  |  | 4014
Total |  |  |  |  | 17394
Physotherapy & Rehabilitation
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Reception/Waiting |  |  | 1 | 200 | 200
Change/Locker Rooms + Toilets |  |  | 0 | 350 | 0
Gymnasium |  |  | 1 | 500 | 500
Rehabilitation |  |  | 0 | 1000 | 0
Support
HOD Office |  |  | 1 | 200 | 200
Clean Utility |  |  | 1 | 80 | 80
Dirty Utility |  |  | 1 | 80 | 80
Staff Toilets |  |  | 2 | 40 | 80
Inpatient Holding |  |  | 1 | 120 | 120
Wheelchair Alcove |  |  | 1 | 75 | 75
Housekeeping Closet |  |  | 2 | 20 | 40
Sub-Total |  |  |  |  | 1375
Add : Circulation @ 30% |  |  |  |  | 412.5
Total |  |  |  |  | 1787.5
Radiology / Imaging & Diagnostics
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Reception / Registration / Report Collection |  |  | 1 | 200 | 200
Central Waiting Space |  |  | 1 | 400 | 400
1000 ma X-Ray Room + Toilet + Change |  |  | 1 | 400 | 400
500 ma with Fluoroscopy Room + Change + Toilet |  |  | 1 | 400 | 400
Ultrasound Scan Rooms + Toilet |  |  | 2 | 150 | 300
Mammography |  |  | 1 | 120 | 120
CT Scan + Equipment |  |  | 1 | 450 | 450
MRI + Equipment |  |  | 1 | 550 | 550
Common Computer/Console Room |  |  | 1 | 180 | 180
Diagnostics
Cardio-Pulmonary Lab (Echo, Stress & PFT) |  |  | 1 | 350 | 350
Patient Changing Room and Toilet |  |  | 1 | 80 | 80
Office (Radiologist, Sonologist) |  |  | 1 | 200 | 200
Support
Reporting Office |  |  | 1 | 150 | 150
Common Dark Room |  |  | 1 | 80 | 80
Unexposed Film & Chemical Store |  |  | 1 | 100 | 100
Staff Toilet |  |  | 2 | 40 | 80
Housekeeping Closet |  |  | 1 | 20 | 20
Sub-Total |  |  |  |  | 4060
Add : Circulation @ 25% |  |  |  |  | 1015
Total |  |  |  |  | 5075
Dialysis Unit
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Reception and Waiting |  |  | 1 | 120 | 120
Dialysis Units |  |  | 8 | 120 | 960
Dialyser Store |  |  | 1 | 80 | 80
Clean Utility |  |  | 1 | 80 | 80
Dirty Utility |  |  | 1 | 80 | 80
Positive and Negative Wash |  |  | 1 | 80 | 80
RO Plant |  |  | 1 | 80 | 80
Sub-Total |  |  |  |  | 1480
Add : Circulation @ 30% |  |  |  |  | 444
Total |  |  |  |  | 1924
Radiation Therapy
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Reception/Waiting/Lounge |  |  | 0 | 300 | 0
Liner Accelerator Bunkers |  |  | 0 | 1200 | 0
Simulator/CT Scan |  |  | 0 | 350 | 0
Control Room |  |  | 0 | 120 | 0
Gamma Knife |  |  | 0 | 450 | 0
Inpatient Waiting |  |  | 0 | 200 | 0
Dark Room |  |  | 0 | 80 | 0
Block Room |  |  | 0 | 100 | 0
Exam/ Consult Room |  |  | 0 | 120 | 0
Patient Change Areas |  |  | 0 | 30 | 0
Dosimetry |  |  | 0 | 150 | 0
Mould Room |  |  | 0 | 200 | 0
Brachytherapy |  |  | 0 | 400 | 0
Patient Change Areas |  |  | 0 | 30 | 0
Private Treatment Cubicles |  |  | 0 | 100 | 0
Procedure Room |  |  | 0 | 180 | 0
Support
Nurse's Workstation |  |  | 0 | 150 | 0
Patient Toilet |  |  | 0 | 40 | 0
Staff Toilet |  |  | 0 | 40 | 0
Office-Chief Technician |  |  | 0 | 100 | 0
Clean Utility |  |  | 0 | 80 | 0
Dirty Utility |  |  | 0 | 80 | 0
Pantry |  |  | 0 | 80 | 0
Stores |  |  | 0 | 120 | 0
Equipment bay |  |  | 0 | 80 | 0
Wheelchair/stretcher Bay |  |  | 0 | 50 | 0
Housekeeping Closet |  |  | 0 | 20 | 0
Sub-Total |  |  |  |  | 0
Add : Circulation @ 30% |  |  |  |  | 0
Total |  |  |  |  | 0
Nuclear Medicine
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Reception/Workstation |  |  | 0 | 80 | 0
Patient Changing Cubicle |  |  | 0 | 30 | 0
Patient Toilet |  |  | 0 | 40 | 0
Patient Toilet (Hot) |  |  | 0 | 40 | 0
Gowned Patient Waiting Area |  |  | 0 | 100 | 0
Inpatient Holding Area |  |  | 0 | 150 | 0
Thyroid Uptake/Scan Room |  |  | 0 | 120 | 0
Patient Injection/Recovery Cubicle |  |  | 0 | 80 | 0
Patient Injection Room |  |  | 0 | 100 | 0
Gamma Camera |  |  | 0 | 400 | 0
PET Room |  |  | 0 | 500 | 0
PET Control Room |  |  | 0 | 100 | 0
PET Computer Room |  |  | 0 | 80 | 0
Laser/Imager Processor Station |  |  | 0 | 60 | 0
Physician Viewing/Reading Room |  |  | 0 | 120 | 0
Tech Work Area |  |  | 0 | 120 | 0
Supervisor Office Cubicle |  |  | 0 | 80 | 0
Hot/Radiopharmaceutical Lab |  |  | 0 | 100 | 0
Radioactive decay Storage |  |  | 0 | 60 | 0
Clean Utility |  |  | 0 | 80 | 0
Dirty Utility |  |  | 0 | 80 | 0
Staff Toilet |  |  | 0 | 40 | 0
Linen Storage Alcove |  |  | 0 | 20 | 0
Emergency Equipment Alcove |  |  | 0 | 20 | 0
Wheelchair/Stretcher Alcove |  |  | 0 | 40 | 0
Portable Equipment Alcove |  |  | 0 | 20 | 0
Sub-Total |  |  |  |  | 0
Add : Circulation @ 30% |  |  |  |  | 0
Total |  |  |  |  | 0
Operation Theater Complex & Day Care Unit
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
General OT's |  |  | 2 | 400 | 800
Major OT's |  |  | 4 | 600 | 2400
Septic OT |  |  | 1 | 400 | 400
Sub-Sterile Room(with Flash Sterilizer) |  |  | 1 | 160 | 160
Scrub Areas |  |  | 2 | 50 | 100
Endoscopy Room / Minor OT |  |  | 1 | 300 | 300
Day Care Beds + Toilets |  |  | 12 | 80 | 960
General Equipment Storage Room |  |  | 2 | 150 | 300
Pre-Op /Post-Op |  |  | 16 | 80 | 1280
Clean Utility |  |  | 1 | 120 | 120
Dirty Utility |  |  | 1 | 80 | 80
Support
OT Nursing Station |  |  | 1 | 150 | 150
Matron's Room |  |  | 1 | 100 | 100
Housekeeping Closet |  |  | 1 | 20 | 20
Stretcher Alcove |  |  | 2 | 50 | 100
Doctor's Lockers & Toilet |  |  | 1 | 400 | 400
Nurse's Locker & Toilet |  |  | 1 | 250 | 250
Class IV Locker & Toilet |  |  | 1 | 250 | 250
Doctor's lounge |  |  | 1 | 250 | 250
Staff Lounge |  |  | 1 | 250 | 250
Consultation / Quiet Room |  |  | 1 | 120 | 120
Sub-Total |  |  |  |  | 8790
Add : Circulation @ 30% |  |  |  |  | 2637
Total |  |  |  |  | 11427
Hybrid Cath Lab
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Reception / Registration / File Storage |  |  | 1 | 150 | 150
Hybrid Cath Lab |  |  | 1 | 600 | 600
Angio Day Care Beds-Recovery |  |  | 4 | 100 | 400
Scrub Area |  |  | 1 | 30 | 30
Control room |  |  | 1 | 200 | 200
Equipment Room |  |  | 1 | 120 | 120
Change Rooms |  |  | 3 | 120 | 360
Patient Preparation and Toilet |  |  | 1 | 120 | 120
Inpatient Holding |  |  | 1 | 150 | 150
Sub Total |  |  |  |  | 2130
Add : Circulation @ 30% |  |  |  |  | 639
Total |  |  |  |  | 2769
Maternity
Description |  |  | Quantity | Area /Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Delivery Room / Toilet / Scrub |  |  | 0 | 300 | 0
Stand-By Labor Room with Toilet |  |  | 0 | 180 | 0
LDR's |  |  | 0 | 730 | 0
Scrub Area |  |  | 0 | 50 | 0
Stretcher / Wheelchair Alcove |  |  | 0 | 50 | 0
Central Waiting |  |  | 0 | 350 | 0
Reception / Control |  |  | 0 | 120 | 0
Support
Nurse Station |  |  | 0 | 100 | 0
Clean Utility |  |  | 0 | 80 | 0
Dirty Utilty |  |  | 0 | 80 | 0
Housekeeping Closet |  |  | 0 | 20 | 0
Sub-Total |  |  |  |  | 0
Add : Circulation @ 30% |  |  |  |  | 0
Total |  |  |  |  | 0
Nursery and NICU
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Well-Baby Nursery |  |  | 0 | 40 | 0
Scrub / Gown Area |  |  | 0 | 50 | 0
Neonatal Intensive Care Unit (3 Clean-3 Infected) |  |  | 0 | 90 | 0
Support
Nurse Station with Medicine Preparation |  |  | 0 | 120 | 0
Clean Utility |  |  | 0 | 80 | 0
Dirty Utility |  |  | 0 | 80 | 0
Housekeeping Closet |  |  | 0 | 20 | 0
Lactation Support |  |  | 0 | 60 | 0
Family Waiting with Toilet |  |  | 0 | 200 | 0
Sub-Total |  |  |  |  | 0
Add : Circulation @ 30% |  |  |  |  | 0
Total |  |  |  |  | 0
Intensive Care Unit
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
SICU |  |  | 16 | 180 | 2880
MICU |  |  | 16 | 180 | 2880
ICCU |  |  | 16 | 180 | 2880
High Dependency Unit (HDU) |  |  | 16 | 150 | 2400
Patient Toilets |  |  | 4 | 40 | 160
Support
Equipment Storage |  |  | 4 | 100 | 400
Nurse Station ( with monitoring ) |  |  | 4 | 150 | 600
Clean Utility |  |  | 4 | 80 | 320
Soiled Utility |  |  | 4 | 80 | 320
Housekeeping Closet |  |  | 4 | 20 | 80
Pantry |  |  | 4 | 100 | 400
Wheelchair / Stretcher Alcove |  |  | 4 | 50 | 200
Doctor's Sleep Room with Toilet |  |  | 2 | 150 | 300
Quiet Room |  |  | 4 | 120 | 480
Relatives Dormitory with Toilets |  |  | 2 | 1500 | 3000
Family Waiting with Toilet |  |  | 1 | 400 | 400
Sub-Total |  |  |  |  | 17700
Add : Circulation @ 30% |  |  |  |  | 5310
Total |  |  |  |  | 23010
In-Patient Wing
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Suites |  |  | 4 | 730 | 2920
Private Rooms |  |  | 34 | 365 | 12410
Semi-Private Rooms ( 2 Beds each ) |  |  | 32 | 365 | 11680
5-Bed Wards |  |  | 4 | 730 | 2920
Support
Nurse Stations |  |  | 4 | 200 | 800
Clean Utility |  |  | 4 | 120 | 480
Soiled Utility |  |  | 4 | 120 | 480
Floor Pantry |  |  | 4 | 150 | 600
Wheelchair / Stretcher Alcove |  |  | 4 | 100 | 400
Housekeeping Closet |  |  | 4 | 20 | 80
Staff Toilet |  |  | 4 | 50 | 200
Family Waiting with Toilet |  |  | 4 | 200 | 800
Sub-Total |  |  |  |  | 33770
Add : Circulation @ 30% |  |  |  |  | 10131
Total |  |  |  |  | 43901
Central Sterilization & Processing Department
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Soiled Work Room (Receiving, Sorting) |  |  | 1 | 250 | 250
Inspection, Wrap and Pack Area |  |  | 1 | 300 | 300
Sterilization Area |  |  | 1 | 300 | 300
Storage and Dispensing Area |  |  | 1 | 350 | 350
CSSD Managers Room |  |  | 1 | 100 | 100
Staff Change Room |  |  | 2 | 40 | 80
Staff Toilet |  |  | 2 | 40 | 80
Sub-Total |  |  |  |  | 1460
Add : Circulation @ 20% |  |  |  |  | 292
Total |  |  |  |  | 1752
Clinical Laboratory & Blood Bank
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Microbiology |  |  | 1 | 200 | 200
Histopathology |  |  | 1 | 200 | 200
Clinical Pathology |  |  | 1 | 200 | 200
Biochemistry |  |  | 1 | 300 | 300
Hematology |  |  | 1 | 200 | 200
Pathologist's Office |  |  | 1 | 120 | 120
Blood Bank with Components & Apherisis |  |  | 1 | 2000 | 2000
Gas Cylinder Storage |  |  | 1 | 80 | 80
Distilled Water |  |  | 1 | 80 | 80
Sample Collection |  |  | 1 | 100 | 100
Store |  |  | 1 | 200 | 200
Reporting Room |  |  | 1 | 200 | 200
Staff Toilet |  |  | 2 | 30 | 60
Sub-Total |  |  |  |  | 3940
Add : Circulation @ 20% |  |  |  |  | 788
Total |  |  |  |  | 4728
Kitchen and Dining
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Kitchen including Kitchen Stores |  |  | 1 | 1500 | 1500
Dietitian's Office |  |  | 1 | 120 | 120
Serving and Handwash Area |  |  | 2 | 200 | 400
Doctors & Visitor Dining (40 seating) |  |  | 1 | 800 | 800
Dining Area ( 80 seating ) |  |  | 1 | 1200 | 1200
Housekeeping Closet |  |  | 2 | 20 | 40
Sub-Total |  |  |  |  | 4060
Add : Circulation @ 20% |  |  |  |  | 812
Total |  |  |  |  | 4872
Administration
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Chief Executive Officer |  |  | 1 | 250 | 250
CEO's Private Secretary + Waiting |  |  | 1 | 150 | 150
Chief of Nursing |  |  | 1 | 150 | 150
Managers (Finance/Admin/Personnel/Marketing) |  |  | 4 | 120 | 480
Assistant Managers |  |  | 4 | 80 | 320
Secretaries / Other Staff |  |  | 20 | 50 | 1000
Telephone Operator |  |  | 3 | 50 | 150
EDP / Copier etc. |  |  | 1 | 300 | 300
Files / Storage |  |  | 1 | 400 | 400
Library cum Conference Room ( 20 seater ) |  |  | 1 | 500 | 500
Board Room |  |  | 1 | 600 | 600
Teaching/Seminar Hall |  |  | 1 | 1200 | 1200
Visitor Waiting |  |  | 1 | 300 | 300
Executive Toilets |  |  | 2 | 40 | 80
Staff Toilets |  |  | 2 | 40 | 80
Housekeeping Closet |  |  | 1 | 20 | 20
Sub-Total |  |  |  |  | 5980
Add : Circulation @ 20% |  |  |  |  | 1196
Total |  |  |  |  | 7176
Materials Management, Housekeeping, Laundry & Staff Lockers
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Loading / Unloading Dock |  |  | 1 | 150 | 150
Breakdown / Sorting Area |  |  | 1 | 200 | 200
Bulk Storage |  |  | 1 | 800 | 800
Dispatch / Receiving Office |  |  | 1 | 120 | 120
Hospital Supply Pharmacy |  |  | 1 | 600 | 600
Materials Manager's Office |  |  | 1 | 120 | 120
Executive Housekeeper's Office |  |  | 1 | 120 | 120
Clerical Staff |  |  | 5 | 50 | 250
Soiled Linen |  |  | 1 | 150 | 150
Laundry |  |  | 1 | 1500 | 1500
Mortuary (4 Cabinets) + Grieving Room |  |  | 1 | 200 | 200
Housekeeping Closet |  |  | 4 | 20 | 80
Lockers
Nurses Lockers / Toilets |  |  | 1 | 750 | 750
Class IV Female Staff Lockers / Toilets |  |  | 1 | 500 | 500
Class IV Male Staff Lockers Toilets |  |  | 1 | 500 | 500
Sub-Total |  |  |  |  | 6040
Add : Circulation @ 25% |  |  |  |  | 1510
Total |  |  |  |  | 7550
Electrical, HVAC, Maintenance & Biomedical Engineering
(To be confirmed with Services Consultants)
Description |  |  | Quantity | Area / Room | Total Area
|  |  |  | (Sq. Ft.) | (Sq. Ft.)
Manager's Office |  |  | 1 | 120 | 120
Engineers / Clerical Staff |  |  | 6 | 50 | 300
General Maintenance Workshop |  |  | 1 | 700 | 700
Bio-Medical Engineering Workroom |  |  | 1 | 300 | 300
Boilers & Mechanical Equipment |  |  | 1 | 3500 | 3500
Medical Gas Manifold Room |  |  | 1 | 400 | 400
Electrical Panels & D.G. Sets |  |  | 1 | 2000 | 2000
Sub-Total |  |  |  |  | 7320
Add : Circulation @ 20% |  |  |  |  | 1464
Total |  |  |  |  | 8784

## Staff
Category | No. of Staff
Administration
Medical Director | 1
Gen. Manager- Administration | 1
Secretary to M.D. | 1
Secretary to G.M. | 1
Administration Clerk | 2
Helper | 2
Accounts Staff
Finance Manager | 1
Accounts Assts. | 4
Support & Ancilliary Services
OPD
Manager | 1
Asst.Executive | 1
Billing & Cashier | 2
IPD
Manager | 1
(IPD -ADT) Asst.Executive (incl. floor staff) | 2
Billing & Cashier | 3
Quality Control
Manager | 1
Asst.Executive | 1
HRD
Manager | 1
Asst. Executive | 2
Medical Records
Manager | 1
Asst. Executive | 1
Helper | 1
IT Dept.
Manager | 1
I.T. Engineer | 2
Engineering & Plant Services
Manager | 1
Maintenance Engineers | 4
Biomedical Engineer (Sr.) | 1
Biomedical Engineer (Asst.) | 2
Pharmacy
Sr. Pharmacist | 1
Asst. Pharmacist | 1
Clerks | 2
Pharmacy Dispensing Assistants | 2
Assistants (Helpers in OTs) | 2
Purchase & Materials
Manager | 1
Asst. Executive (Stores) | 0
Clerk | 1
Helpers | 1
Marketing & Business Development
Manager | 1
Marketing / PR Executive | 1
General
Medical Social Worker | 1
Patient Counsellor | 0
Librarian | 1
Library Helper | 0
Receptionists | 4
Tel. Operator | 3
Medical / Clinical & Nursing
Radiologist / Imaging | 1
Asst. Radiologist | 2
Gen Surgeon (surgical resident) | 0
Anaesthtists (Intermediate) | 1
Anaesthesia Technicians | 2
Gen. Medicine (Physician) | 0
Intensivist-Critical Care | 2
Physiotherapist | 1
Asst. Physiotherapists | 4
Chief Pathologist | 1
Asst. Pathologist | 1
Lab Technician- Senior | 4.4
Lab Technician- Intermediate | 6
Histopatholgist | 1
Blood Bank in Charge | 1
Blood Bank Technician (Senior) | 2
Blood Bank Technician (Intermed.) | 2
Sr. Residents | 13.6281
Jr. Residents | 25.3094
Radiology & Imaging Technician (Senior) | 5.3
Radiology & Imaging Technician (Intermed.) | 1
CSSD in Charge | 1
CSSD Technicians (Sr.) | 2
CSSD Technicians (Jr.) | 2
Helpers | 2
Dietician (Sr.) | 1
Nursing
Nursing Supdt | 1
Matron (OT in-charge) | 1
Senior Staff Nurse for IPD | 57.8861
Interm. Staff Nurse For IPD | 86.8291
Nursing Aide | 144.7152
Jr. Staff Nurse For OPD & Diag. Services | 5.3333
Other staff - outsourced
Helpers (Gen.) | 15
Ayahs} | 30.9062
Attendants}
Sweeper | 52.5556
Laundry & Kitchen | 11
Tailor | 2
Security | 30
Liftmen | 12
Drivers | 4
Total | 602.863