## Area Program
DISCLAIMER:
These area statements are only indicative, not meant to be taken as a prescription.
I am not responsible for any errors or omissions in these statements.
They are presented here for your guidance only.
Architectural Area Statement
Proposed 100-Bed Hospital
Distribution of In-Patient Beds
Beds | Units | Beds / Unit | No. of Beds
Deluxe Rooms | 2 | 1 | 2
Private Rooms | 22 | 1 | 22
Semi-Private Rooms | 12 | 2 | 24
5-Bed Wards | 2 | 5 | 10
LDR's | 2 | 1 | 2
SICU | 1 | 8 | 8
MICU | 1 | 8 | 8
ICCU | 1 | 8 | 8
NICU | 1 | 4 | 4
High Dependency Unit (HDU) | 1 | 8 | 8
EMS (Casualty + EMS) | 1 | 4 | 4
Total In-Patient Beds |  |  | 100
Area/Bed |  |  | 1191.7062 | sq. ft.
Total Built-Up Area of Hospital
Description |  |  | Area in Sq. Ft.
Public Areas |  |  | 7044 | 7.389%
Casualty Department |  |  | 2632.5 | 2.761%
Out-Patient Department |  |  | 5980 | 6.273%
Physotherapy & Rehabilitation |  |  | 603 | 0.6325%
Radiology / Imaging & Diagnostics |  |  | 4700 | 4.93%
Dialysis Unit |  |  | 1586 | 1.664%
Operation Theater Complex & Day Care Unit |  |  | 6682 | 7.009%
Interventional Cardiology (Cath. Lab.) |  |  | 0 | 0%
Maternity Center |  |  | 2964 | 3.109%
Nursery & NICU |  |  | 1443 | 1.514%
Intensive Care Unit |  |  | 13663 | 14.33%
In-Patient Wing |  |  | 23673 | 24.83%
Central Sterilization & Processing Department |  |  | 1332 | 1.397%
Clinical Laboratory & Blood Bank |  |  | 1884 | 1.976%
Kitchen & Dining |  |  | 3132 | 3.285%
Administration |  |  | 5124 | 5.375%
Materials Management, Housekeeping, Laundry & Staff Lockers |  |  | 5850 | 6.136%
Electrical, HVAC, Maintenance & Bio-Medical Engineering |  |  | 7044 | 7.389%
Sub-Total |  |  | 95336.5 | 100%
Add : Vertical Circulation, Fire Escapes, AHU's & BUA Factor @ 25% |  |  | 23834.125
Total |  |  | 119170.625
Public Areas
Description | Quantity | Area/Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Wheelchair / Stretcher Alcove | 1 | 50 | 50
Main Entrance Lobby | 1 | 3500 | 3500
Public Toilets | 2 | 120 | 240
Staff Toilets | 2 | 30 | 60
Reception & Front Office Staff Work Area | 1 | 150 | 150
Admitting / Discharge Cubicles | 3 | 50 | 150
Bank Extension Counter | 1 | 200 | 200
Billing Section | 1 | 150 | 150
PRO's Office/Social Workers Office | 1 | 120 | 120
Retail Pharmacy & Convenience Store | 1 | 500 | 500
Gift Shop cum Florist | 1 | 120 | 120
Telephone Booths | 2 | 20 | 40
Snack Bar | 1 | 200 | 200
EPABX/Server Room | 1 | 150 | 150
Prayer Room | 1 | 200 | 200
Housekeeping Closet | 2 | 20 | 40
Sub Total |  |  | 5870
(Add : Circulation @ 20%) |  |  | 1174
Total |  |  | 7044
Casualty Department
Description | Quantity | Area/Room | Total Area
|  | (sq. ft.) | (sq. ft.)
Triage | 1 | 400 | 400
Wheelchair / Stretcher Alcove | 2 | 50 | 100
Public Waiting | 1 | 200 | 200
Change Cubicle | 1 | 30 | 30
Emergency Procedure Room cum Plaster Room | 1 | 200 | 200
Observation Beds | 4 | 100 | 400
Scrub Stations | 1 | 25 | 25
Public Toilets | 2 | 80 | 160
Staff Toilets | 1 | 30 | 30
Support
Central Nurse Station | 1 | 100 | 100
Clean Utility | 1 | 80 | 80
Dirty Utility | 1 | 80 | 80
Mobile X-ray Alcove | 1 | 50 | 50
Doctors Duty Room with Toilet | 1 | 150 | 150
Housekeeping Closet | 1 | 20 | 20
Sub-Total |  |  | 2025
Add : Circulation @ 30% |  |  | 607.5
Total |  |  | 2632.5
Out-Patient Department
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Consultation Rooms/ Dedicated Doctor's Offices | 10 | 120 | 1200
Dental Clinic | 1 | 200 | 200
Ophthalmic Clinic | 1 | 200 | 200
Laser Room | 1 | 120 | 120
A & B Scan, Perimetry | 1 | 200 | 200
ENT OPD | 1 | 150 | 150
Audiometry | 1 | 150 | 150
Executive Health Check-Up Lounge with Toilet | 1 | 300 | 300
Minor Treatment Room | 1 | 200 | 200
Sample Collection / Injection with Toilet | 1 | 150 | 150
Sub-Waiting Areas | 4 | 120 | 480
Central Waiting Space | 1 | 500 | 500
Support
Nurse Station & Registration | 1 | 150 | 150
Clean Utility | 1 | 80 | 80
Dirty Utility | 1 | 80 | 80
Public Toilets | 2 | 120 | 240
Staff Toilets | 2 | 40 | 80
Wheelchair Alcove | 2 | 50 | 100
Housekeeping Closet | 1 | 20 | 20
Sub-Total |  |  | 4600
Add : Circulation @ 30% |  |  | 1380
Total |  |  | 5980
Physotherapy & Rehabilitation
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Reception/Waiting | 1 | 200 | 200
Change/Locker Rooms + Toilets | 2 | 150 | 300
Gymnasium | 1 | 350 | 350
Rehabilitation | 1 | 600 | 600
Support
HOD Office | 1 | 150 | 150
Clean Utility | 1 | 80 | 80
Dirty Utility | 1 | 80 | 80
Staff Toilets | 2 | 40 | 80
Inpatient Holding | 1 | 100 | 100
Wheelchair Alcove | 1 | 50 | 50
Housekeeping Closet | 1 | 20 | 20
Sub-Total |  |  | 2010
Add : Circulation @ 30% |  |  | 603
Total |  |  | 2613
Radiology / Imaging & Diagnostics
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Reception / Registration / Report Collection | 1 | 200 | 200
Central Waiting Space | 1 | 400 | 400
X-ray + Change | 1 | 300 | 300
500 ma with Fluoroscopy Room + Change + Toilet | 1 | 400 | 400
Ultrasound Scan Rooms + Toilet | 1 | 150 | 150
Mammography | 1 | 120 | 120
CT Scan + Equipment | 1 | 450 | 450
MRI + Equipment | 1 | 550 | 550
Common Computer/Console Room | 1 | 180 | 180
Diagnostics
Cardio-Pulmonary Lab (Echo, Stress & PFT) | 1 | 350 | 350
Patient Changing Room and Toilet | 1 | 80 | 80
Office (Radiologist, Sonologist) | 1 | 200 | 200
Support
Reporting Office | 1 | 120 | 120
Common Dark Room | 1 | 80 | 80
Unexposed Film & Chemical Store | 1 | 80 | 80
Staff Toilet | 2 | 40 | 80
Housekeeping Closet | 1 | 20 | 20
Sub-Total |  |  | 3760
Add : Circulation @ 25% |  |  | 940
Total |  |  | 4700
Dialysis Unit
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Reception and Waiting | 1 | 100 | 100
Dialysis Units | 6 | 120 | 720
Dialyser Store | 1 | 80 | 80
Clean Utility | 1 | 80 | 80
Dirty Utility | 1 | 80 | 80
Positive and Negative Wash | 1 | 80 | 80
RO Plant | 1 | 80 | 80
Sub-Total |  |  | 1220
Add : Circulation @ 30% |  |  | 366
Total |  |  | 1586
Operation Theater Complex & Day Care Unit
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
General OT's | 2 | 400 | 800
Major OT's | 1 | 600 | 600
Sub-Sterile Room(with Flash Sterilizer) | 1 | 160 | 160
Scrub Areas | 2 | 50 | 100
Endoscopy Room / Minor OT | 1 | 300 | 300
Day Care Beds + Toilets | 8 | 80 | 640
General Equipment Storage Room | 1 | 150 | 150
Pre-Op Holding and Preparation ( 2 Beds ) | 2 | 120 | 240
Post-Op | 4 | 120 | 480
Clean Utility | 1 | 80 | 80
Dirty Utility | 1 | 80 | 80
Support
OT Nursing Station | 1 | 120 | 120
Matron's Room | 1 | 100 | 100
Housekeeping Closet | 1 | 20 | 20
Stretcher Alcove | 2 | 50 | 100
Doctor's Lockers & Toilet | 1 | 350 | 350
Nurse's Locker & Toilet | 1 | 150 | 150
Class IV Locker & Toilet | 1 | 150 | 150
Doctor's lounge | 1 | 250 | 250
Staff Lounge | 1 | 150 | 150
Consultation / Quiet Room | 1 | 120 | 120
Sub-Total |  |  | 5140
Add : Circulation @ 30% |  |  | 1542
Total |  |  | 6682
Interventional Cardiology (Cath. Lab)
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Reception / Registration / File Storage | 0 | 150 | 0
Cardiac Catheterisation Laboratory | 0 | 400 | 0
Angio Day Care Beds-Recovery | 0 | 100 | 0
Scrub Area | 0 | 30 | 0
Control room | 0 | 200 | 0
Equipment Room | 0 | 120 | 0
Patient Preparation and Toilet | 0 | 120 | 0
Inpatient Holding | 0 | 150 | 0
Sub Total |  |  | 0
Add : Circulation @ 30% |  |  | 0
Total |  |  | 0
Maternity
Description | Quantity | Area /Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Delivery Room / Toilet / Scrub | 1 | 300 | 300
Stand-By Labor Room with Toilet | 2 | 250 | 500
LDR's | 2 | 400 | 800
Scrub Area | 1 | 50 | 50
Stretcher / Wheelchair Alcove | 1 | 50 | 50
Central Waiting | 1 | 200 | 200
Reception / Control | 1 | 100 | 100
Support
Nurse Station | 1 | 100 | 100
Clean Utility | 1 | 80 | 80
Dirty Utilty | 1 | 80 | 80
Housekeeping Closet | 1 | 20 | 20
Sub-Total |  |  | 2280
Add : Circulation @ 30% |  |  | 684
Total |  |  | 2964
Nursery and NICU
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Well-Baby Nursery | 4 | 40 | 160
Scrub / Gown Area | 1 | 50 | 50
Neonatal Intensive Care Unit (2 Clean-2 Infected) | 4 | 90 | 360
Support
Nurse Station with Medicine Preparation | 1 | 100 | 100
Clean Utility | 1 | 80 | 80
Dirty Utility | 1 | 80 | 80
Housekeeping Closet | 1 | 20 | 20
Lactation Support | 1 | 60 | 60
Family Waiting with Toilet | 1 | 200 | 200
Sub-Total |  |  | 1110
Add : Circulation @ 30% |  |  | 333
Total |  |  | 1443
Intensive Care Unit
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
SICU | 8 | 180 | 1440
MICU | 8 | 180 | 1440
ICCU | 8 | 180 | 1440
Step Down | 8 | 150 | 1200
High Dependency Unit (HDU) | 8 | 120 | 960
Patient Toilets | 5 | 40 | 200
Support
Equipment Storage | 3 | 100 | 300
Nurse Station ( with monitoring ) | 5 | 150 | 750
Clean Utility | 3 | 80 | 240
Soiled Utility | 3 | 80 | 240
Housekeeping Closet | 3 | 20 | 60
Pantry | 3 | 100 | 300
Wheelchair / Stretcher Alcove | 5 | 50 | 250
Doctor's Sleep Room with Toilet | 3 | 150 | 450
Quiet Room | 2 | 120 | 240
Relatives Dormitory with Toilets | 2 | 400 | 800
Family Waiting with Toilet | 1 | 200 | 200
Sub-Total |  |  | 10510
Add : Circulation @ 30% |  |  | 3153
Total |  |  | 13663
In-Patient Wing
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Suites | 2 | 730 | 1460
Private Rooms | 22 | 365 | 8030
Semi-Private Rooms ( 2 Beds each ) | 12 | 365 | 4380
5-Bed Wards | 2 | 730 | 1460
Support
Nurse Stations | 3 | 200 | 600
Clean Utility | 3 | 120 | 360
Soiled Utility | 3 | 120 | 360
Floor Pantry | 3 | 150 | 450
Wheelchair / Stretcher Alcove | 3 | 100 | 300
Housekeeping Closet | 3 | 20 | 60
Staff Toilet | 3 | 50 | 150
Family Waiting with Toilet | 3 | 200 | 600
Sub-Total |  |  | 18210
Add : Circulation @ 30% |  |  | 5463
Total |  |  | 23673
Central Sterilization & Processing Department
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Soiled Work Room (Receiving, Sorting) | 1 | 150 | 150
Inspection, Wrap and Pack Area | 1 | 250 | 250
Sterilization Area | 1 | 200 | 200
Storage and Dispensing Area | 1 | 250 | 250
CSSD Managers Room | 1 | 100 | 100
Staff Change Room | 2 | 40 | 80
Staff Toilet | 2 | 40 | 80
Sub-Total |  |  | 1110
Add : Circulation @ 20% |  |  | 222
Total |  |  | 1332
Clinical Laboratory & Blood Bank
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Microbiology | 1 | 150 | 150
Histopathology | 1 | 150 | 150
Clinical Pathology | 1 | 150 | 150
Biochemistry | 1 | 250 | 250
Hematology | 1 | 150 | 150
Pathologist's Office | 1 | 120 | 120
Blood Bank with Components & Apherisis | 0 | 2000 | 0
Gas Cylinder Storage | 1 | 80 | 80
Distilled Water | 1 | 80 | 80
Sample Collection | 1 | 80 | 80
Store | 1 | 150 | 150
Reporting Room | 1 | 150 | 150
Staff Toilet | 2 | 30 | 60
Sub-Total |  |  | 1570
Add : Circulation @ 20% |  |  | 314
Total |  |  | 1884
Kitchen and Dining
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Kitchen including Kitchen Stores | 1 | 1000 | 1000
Dietitian's Office | 1 | 120 | 120
Serving and Handwash Area | 2 | 150 | 300
Doctors & Visitor Dining (20 seating) | 1 | 400 | 400
Dining Area ( 50 seating ) | 1 | 750 | 750
Housekeeping Closet | 2 | 20 | 40
Sub-Total |  |  | 2610
Add : Circulation @ 20% |  |  | 522
Total |  |  | 3132
Administration
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Chief Executive Officer | 1 | 200 | 200
CEO's Private Secretary + Waiting | 1 | 120 | 120
Chief of Nursing | 1 | 120 | 120
Managers (Finance/Admin/Personnel/Marketing) | 4 | 100 | 400
Assistant Managers | 4 | 80 | 320
Secretaries / Other Staff | 12 | 50 | 600
Telephone Operator | 2 | 50 | 100
EDP / Copier etc. | 1 | 200 | 200
Files / Storage | 1 | 300 | 300
Library cum Conference Room ( 15 seater ) | 1 | 400 | 400
Board Room | 1 | 400 | 400
Teaching/Seminar Hall | 1 | 800 | 800
Visitor Waiting | 1 | 150 | 150
Executive Toilets | 2 | 40 | 80
Staff Toilets | 2 | 30 | 60
Housekeeping Closet | 1 | 20 | 20
Sub-Total |  |  | 4270
Add : Circulation @ 20% |  |  | 854
Total |  |  | 5124
Materials Management, Housekeeping, Laundry & Staff Lockers
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Loading / Unloading Dock | 1 | 150 | 150
Breakdown / Sorting Area | 1 | 200 | 200
Bulk Storage | 1 | 600 | 600
Dispatch / Receiving Office | 1 | 120 | 120
Hospital Supply Pharmacy | 1 | 400 | 400
Materials Manager's Office | 1 | 100 | 100
Executive Housekeeper's Office | 1 | 100 | 100
Clerical Staff | 5 | 50 | 250
Soiled Linen | 1 | 120 | 120
Laundry | 1 | 1000 | 1000
Mortuary (2 Cabinets) + Greiving Room | 1 | 200 | 200
Housekeeping Closet | 2 | 20 | 40
Lockers
Nurses Lockers / Toilets | 1 | 600 | 600
Class IV Female Staff Lockers / Toilets | 1 | 400 | 400
Class IV Male Staff Lockers Toilets | 1 | 400 | 400
Sub-Total |  |  | 4680
Add : Circulation @ 25% |  |  | 1170
Total |  |  | 5850
Electrical, HVAC, Maintenance & Biomedical Engineering
(To be confirmed with Services Consultants)
Description | Quantity | Area / Room | Total Area
|  | (Sq. Ft.) | (Sq. Ft.)
Manager's Office | 1 | 120 | 120
Engineers / Clerical Staff | 4 | 50 | 200
General Maintenance Workshop | 1 | 500 | 500
Bio-Medical Engineering Workroom | 1 | 250 | 250
Boilers & Mechanical Equipment | 1 | 3000 | 3000
Medical Gas Manifold Room | 1 | 300 | 300
Electrical Panels & D.G. Sets | 1 | 1500 | 1500
Sub-Total |  |  | 5870
Add : Circulation @ 20% |  |  | 1174
Total |  |  | 7044

## Staff
Category | No. of Staff
Administration
Medical Director | 1
Gen. Manager- Administration | 1
Secretary to M.D. | 1
Secretary to G.M. | 1
Administration Clerk | 2
Helper | 2
Accounts Staff
Finance Manager | 1
Accounts Assts. | 4
Support & Ancilliary Services
OPD
Manager | 1
Asst.Executive | 1
Billing & Cashier | 2
IPD
Manager | 1
(IPD -ADT) Asst.Executive (incl. floor staff) | 2
Billing & Cashier | 3
Quality Control
Manager | 1
Asst.Executive | 1
HRD
Manager | 1
Asst. Executive | 2
Medical Records
Manager | 1
Asst. Executive | 1
Helper | 1
IT Dept.
Manager | 1
I.T. Engineer | 2
Engineering & Plant Services
Manager | 1
Maintenance Engineers | 4
Biomedical Engineer (Sr.) | 1
Biomedical Engineer (Asst.) | 2
Pharmacy
Sr. Pharmacist | 1
Asst. Pharmacist | 1
Clerks | 2
Pharmacy Dispensing Assistants | 2
Assistants (Helpers in OTs) | 2
Purchase & Materials
Manager | 1
Asst. Executive (Stores) | 0
Clerk | 1
Helpers | 1
Marketing & Business Development
Manager | 1
Marketing / PR Executive | 1
General
Medical Social Worker | 1
Patient Counsellor | 0
Librarian | 1
Library Helper | 0
Receptionists | 4
Tel. Operator | 3
Medical / Clinical & Nursing
Radiologist / Imaging | 1
Asst. Radiologist | 2
Gen Surgeon (surgical resident) | 0
Anaesthtists (Intermediate) | 1
Anaesthesia Technicians | 2
Gen. Medicine (Physician) | 0
Intensivist-Critical Care | 2
Physiotherapist | 1
Asst. Physiotherapists | 4
Chief Pathologist | 1
Asst. Pathologist | 1
Lab Technician- Senior | 4.4
Lab Technician- Intermediate | 6
Histopatholgist | 1
Blood Bank in Charge | 1
Blood Bank Technician (Senior) | 2
Blood Bank Technician (Intermed.) | 2
Sr. Residents | 13.6281
Jr. Residents | 25.3094
Radiology & Imaging Technician (Senior) | 5.3
Radiology & Imaging Technician (Intermed.) | 1
CSSD in Charge | 1
CSSD Technicians (Sr.) | 2
CSSD Technicians (Jr.) | 2
Helpers | 2
Dietician (Sr.) | 1
Nursing
Nursing Supdt | 1
Matron (OT in-charge) | 1
Senior Staff Nurse for IPD | 57.8861
Interm. Staff Nurse For IPD | 86.8291
Nursing Aide | 144.7152
Jr. Staff Nurse For OPD & Diag. Services | 5.3333
Other staff - outsourced
Helpers (Gen.) | 15
Ayahs} | 30.9062
Attendants}
Sweeper | 52.5556
Laundry & Kitchen | 11
Tailor | 2
Security | 30
Liftmen | 12
Drivers | 4
Total | 602.863